BIOTECH Project Resource Center Loan Checklist

Teacher:   							Date loaned:

School: 	 						# groups:

Students/classes:	 					Independent:

Materials for Protein Fingerprinting lab (students work in groups of 4):

| Number | Item | Returned? |
| --- | --- | --- |
| 8 | microfuge tube racks |  |
| 3 one liter bottles | plastic bottles of TeoTricine buffer (can be poured back into containers) |  |
| 1 | heat block |  |
| 3 tubes per students | 1.7 ml microfuge tubes |  |
| 4 | Precast SDS-PAGE gels |  |
| 1 | thermometers in plastic holders |  |
| 8 | Pipettes (p20 and p1000) |  |
| 3 pipet tip per sample per group | pipette tips (p20 and p1000) |  |
| 2 | Protein gel rigs with wires |  |
| 2 power supplies | power supplies for 4 rigs with 200V ability |  |
| 4 | light boxes with adapters |  |
| 1 | 1 liter bottle Destain |  |
| 1 | bottle Coomassie blue stain (about 500 ml) |  |
| 4 | plastic trays (to hold gels during staining and destaining) |  |
| 4-8 tubes/grp | Extraction buffer |  |
| 2-4 tubes/grp | Extra extraction buffer for dilution |  |
| 1 per group | BSA standards |  |
| 20 ml/2 groups | Bradford assay |  |
| 20/2 groups | cuvettes |  |
| 2/group | Cuvette rack |  |
| 4 | Specs |  |
|  | Tissues for protein extraciton |  |
| 4 | Lamelli’s buffer |  |
| 1 | roll masking tape |  |
| 1 | box kimwipes |  |
| 8 | Sharpie pens |  |
| 1 | biohazard bag |  |
| 1 | Protein MW Marker (5 l per gel) |  |
|  | Gel loading tips |  |
|  | Homogenizers and appropriate tubes |  |

When you are reloading the bins, please check off each item in the 'Returned?' column as a double-check that all those little pieces of equipment get packed.  Thanks!

If you have questions about experiments or materials, please feel free to contact the BIOTECH Project at:

Nadja Anderson

nadja@email.arizona.edu

(520) 626-4664

Recipes

20X of Teo-Tricine SDS running buffer

0.8M Tricine, 1.2M Tris, 2% SDS, 50mM Sodium Bisulfite.  For 1 Liter combine 143.4 grams Tricine, 145.2 gramd Tris (Base), 10 grams SDS (wear mask when working with SDS), and 2.5 grams Sodium Bisulfite dilute to 1 liter with deionized water. The pH should be between 8.2 and 8.3, store at room temp.

1X of Teo-Tricine SDS running buffer

Add 50 ml of 20X Teo-Tricine SDS running buffer to a one liter bottle, dilute to one liter.

Coomassie blue stain

For each liter of stain, combine 450 ml water, 2.5 g Coomassie blue, 450 ml methanol, and 100 ml glacial acetic.  Store in a sealed bottle at room temperature indefinitely.

Destain

For each liter of destain, combine 600 ml water, 300 ml methanol, and 100 ml glacial acetic acid. Store in a sealed bottle at room temperature indefinitely.

1.0 M Tris-Cl (pH 6.8)

Combine 60.5 g Tris base with about 350 ml water.  Add enough HCl to give the solution a pH of 6.8.  Add enough water to make the total volume of the solution 500 ml (0.5 liter).  Store in a sealed bottle at room temperature indefinitely.

Sample buffer

To make 100 ml sample buffer, combine 10 ml 1.0 M Tris-Cl (pH 6.8), 20 ml 20% SDS, 0.1 g bromophenol blue, 20 ml glycerol, and water to make a total volume of 100 ml.  This is actually a 2X recipe, but the sample buffer is used at 2X, not diluted.  Dispense in 0.5 ml aliquots for use by the students.  Store at room temperature indefinitely

Camiolo Buffer

0.075 M Potassium Acetate, 0.3 M NaCl, 0.1 M L-Arginine, 0.01 M EDTA, 0.25% Triton-100

Serial dilution BSA standards for Bradford Protein Assay

The following steps can make use of a used, clean but not sterile, 50ml centrifuge tube

- Collect 7 50ml clean not sterile centrifuge tubes and label them: 2.0, 1.5, 1.0, 0.75, 0.5, 0.25, 0.125

- Create 2mg/ml BSA standard:  Add 100mg BSA to 50ml centrifuge tube. Bring the volume to 50ml with nano-pure water. Mix by vortexing until all solids dissolve.

- Create 1.5mg/ml BSA standard:  Transfer 37.5ml of 2mg/ml BSA to a new 50ml centrifuge tube. Bring the volume to 50ml with nano-pure water. Mix by inverting.

- Create 1.0mg/ml BSA standard: Transfer 33.3ml of 1.5mg/ml BSA to a new 50ml centrifuge tube. Bring the volume to 50ml with nano-pure water. Mix by inverting.

- Create 0.75mg/ml BSA standard: Transfer 37.5ml of 1.0mg/ml BSA to a new 50ml centrifuge tube. Bring volume to 50ml with nano-pure water. Mix by inverting.

- Create 0.5mg/ml BSA standard: Transfer 33.3ml of 0.75mg/ml BSA to a new 50ml centrifuge tube. Bring volume to 50ml with nano-pure water. Mix by inverting

- Create 0.25mg/ml BSA standard: Transfer 25ml of 0.5mg/ml BSA to a new 50ml centrifuge tube. Bring volume to 50ml with nano-pure water. Mix by inverting.

- Create 0.125mg/ml BSA standard: Transfer 25ml of 0.25mg/ml BSA to a new 50ml centrifuge tube Bring volume to 50ml with nano-pure water Mix by inverting.

- Label 1.7ml micro-centrifuge tubes according to the standard concentration, and aliquot 1.0-1.5ml of each of the standards to separate 1.7ml micro-centrifuge tubes.